# Site capture sheet and report checklist

From RunByOps guide 02: When reports take an evening because site notes and photos lack context. Free to use and change.

# How to use this

Most report time goes on rebuilding context: which photo shows what, where it was, and what a note meant. This sheet captures each observation with its location, evidence, readings and limitations while you’re on site, so the desk work is assembly and judgement.

Change the columns to match your own report. The capture sheet only works if it mirrors what the report needs.

- Before the visit, work through the checklist below.

- On site, give every observation an ID (O-01, O-02…). Photograph a card showing the job reference and observation ID before that observation’s photos. Write limitations the moment you hit them.

- At the desk, prepare and review the report with the checklist on the last pages.

- If you use an AI assistant for drafting, use the brief at the end, and check every fact against the originals before anything goes out.

# Before the visit

Job reference		Site

☐	Report sections. List the sections of the last report you were happy with, and the information each one needs. That list is your capture checklist.

☐	Scope. Confirm what’s in and out of this visit.

☐	Access. Confirm who lets you in, when, and where keys are. Keep codes out of group chats.

☐	Equipment. Phone or camera charged, ID cards or a small whiteboard and marker, measuring tools, any meters you’ll use.

☐	Folder. Create the job folder with 01 Originals, 02 Working and 03 Report.

☐	History. Previous reports or photos for this site, if there are any.

# The unit of capture

One observation is one thing at one location. Record the fact, not the conclusion. Causes and recommendations come later, from the person responsible for them.

| Field | What to write |
| --- | --- |
| ID | O-01, O-02 and so on, unique within the job. |
| Location | Exactly where: ‘Balcony, Unit 4, east wall where it meets the floor’. |
| Element | What it’s about: tiles, sealant, membrane, gutter, door sill. |
| What was seen | A plain description of the fact, not the conclusion. |
| Evidence | Photo numbers, sketch, voice note. |
| Reading | Value, unit, instrument or method, and where it was taken. |
| Limitation | What couldn’t be seen, reached or tested here, and why. |
| Follow-up | Anything needing another visit, a test or a specialist. |

# Capture sheet

Job reference		Site		Date

Captured by		Page		of

| ID | Location | Element | What was seen | Evidence (photos) | Reading (value, unit, instrument, where) | Limitation | Follow-up |
| --- | --- | --- | --- | --- | --- | --- | --- |

# Limitations log

What you couldn’t see, reach or test is one of the most important parts of the report. Write each one down as you hit it.

| Observation ID | What couldn’t be seen, reached or tested | Why | Follow-up needed? |
| --- | --- | --- | --- |

# Example capture sheet

ILLUSTRATIVE EXAMPLE: invented to show the structure. Not a real inspection, property or finding.

Before, in the notebook: ‘U4 balc – tiles drummy nr door, sealant gone E side, stain below bed 2 approx 600x400, 28??, no roof access’, plus 48 photos in the order they were taken. After, captured properly:

| ID | Location | Element | What was seen | Evidence (photos) | Reading (value, unit, instrument, where) | Limitation | Follow-up |
| --- | --- | --- | --- | --- | --- | --- | --- |
| O-01 | Balcony, Unit 4, in front of the sliding door | Floor tiles | Hollow sound when tapped, across about 0.5 m² | P-03 to P-06 |  | Pot plants not moved. Tiles under them not checked. |  |
| O-02 | Balcony, Unit 4, east wall where it meets the floor | Sealant | Sealant cracked and separated along about 1.2 m | P-07 to P-10 |  |  |  |
| O-03 | Unit 2, bedroom 2 ceiling, below the balcony | Ceiling | Water stain about 600 × 400 mm | P-11 to P-13 | Moisture meter, relative reading, higher than surrounding ceiling, centre of stain | Relative reading only, not a moisture content | Re-check after a dry spell |
| O-04 | Roof above Unit 4 | Roof | Not inspected |  |  | No access hatch found | Arrange roof access with the building manager |

In the report, O-01 and O-02 go under the Unit 4 balcony, O-03 under Unit 2, the limitations from O-01, O-03 and O-04 under Limitations, and the follow-ups under Further work. Conclusions and recommendations are written by the responsible inspector after reviewing all four, not by an AI assistant.

# Report preparation and review

## Preparing the draft

☐	Original photos, notes, sketches and voice notes copied into 01 Originals, untouched.

☐	Photos sorted by observation. The ID card photos divide them.

☐	Working copies renamed by job, observation and photo, for example J-2391_O-03_P-11.jpg.

☐	Every observation placed in a report section.

☐	Every limitation copied into the Limitations section.

☐	Follow-ups listed under Further work.

## Review, by a named reviewer

☐	Every statement of fact traces back to an observation ID and its evidence.

☐	Every photo caption matches what the photo actually shows.

☐	Limitations are stated, not implied.

☐	Conclusions and recommendations are the responsible person’s own, and stay within the scope of the job.

☐	The report is as clear about what wasn’t done as what was.

Reviewed by		Date

## Issue

☐	Issued as a PDF with a version number.

☐	Issued version saved in 03 Report and never overwritten. Changes after issue get a new version and a note of what changed.

☐	Job record updated: report issued, with the date.

# AI drafting brief

Paste this into an AI assistant along with your capture sheet and photo list. Before you do, check that the tool, and the way you use it, is acceptable to your customers: reports often contain names, addresses and photos of people’s homes.

The assistant can organise and draft from what you captured. It can’t check the site, fill gaps, decide causes or sign anything off. The responsible person checks every fact against the originals before anything goes out.

You are helping draft an inspection report from site capture notes.

Use only the information in the capture sheet and photo list below.

Do not add observations, measurements, causes or recommendations

that are not in the notes.

For each observation:

- keep its ID (for example O-03) at the start of the paragraph

- describe what was seen in plain language

- list the photos that support it

Put each observation under the report section that matches its

location. Copy every limitation into the Limitations section.

Leave the Conclusions and Recommendations sections empty.

The responsible person will write them.

After the draft, list:

- anything you could not place in a section

- observations with no photo or no location

- readings with no unit, instrument or location

- anything that looks inconsistent

Capture sheet:

[paste here]

Photo list:

[paste here]

From the RunByOps guides by Kevin Ly. The example in this document is illustrative.